## Ranges (hidden)
Substrate | MW | MediaVolume | Wells | Plates | Cold | TargetRad | PABSA | SecondaryPA | ConcCold | BSA | Hot
LA | 302.43 | 100 | 1 | 1 | 0.05 | 0.0001 | 0.5 | 1 | 10 | 1 | 0.1
OA | 304.44 | 150 | 6 | 2 | 0.1 | 0.0005 | 1 | 2 | 15 | 1.5 | 0.5
PA | 278.41 | 200 | 12 | 3 | 0.2 | 0.001 | 2 | 3 | 20 | 2 | 1
SA | 306.46 | 250 | 24 | 4 | 0.3 | 0.005 | 3 | 4 | 25 | 2.5 | 2
AA | 326.45 | 300 | 48 | 5 | 0.5 |  | 4 | 5 | 50 |  | 3
|  | 350 | 96 | 6 | 0.75 |  | 5 | 6 |  |  | 4
|  | 400 |  | 7 | 1 |  | 6 | 7 |  |  | 5
|  | 500 |  | 8 |  |  | 7 | 8 |  |  | 7.5
|  | 750 |  | 9 |  |  |  | 9 |  |  | 10
|  | 1000 |  | 10 |  |  |  | 10
|  | 3000 |  | 11
|  | 5000 |  | 12
Table1

## Quick Calc
Cold substrate
FW
uL of media/well
# of wells/plate
# of plates
Target concentration of cold (mM)
Target media uCi/uL
Target :BSA Molar ratio
Concentration of primary cold stock(mM)
Concentration of primary cold BSA stock (mM)
Primary stock radiolabel uCi/uL
Concentration of secondary cold stock (mM)
Concentration of secondary cold BSA stock (mM)
uL mM Na-
uL 3H- @uCi/uL
uL mM BSA solution
uL media
Total volume
uL secondary stock mix
uL media
Total uL
ug total
Notes
Note on E6: WZ: This table has a degree of built-in error checking. Impossible combinations are indicated by crossed-out red font
Note on F6: WZ: This is the fatty acid you wish to test. Molecular weights for commercially available sodium salts will be automatically inserted.
Note on F7: WZ: Automatically inserted. If value is different from automatic value, type in your own
Note on F9: WZ: This is the volume of media you wish to use per well. Use minimum volume to reduce radioactive waste. 300uL/well for 12-well.
Note on F10: WZ: This is the type of plate you are using for the assay, i.e. 6-well, 12-well, etc.
Note on F11: WZ: This is the total number of plates you will be running for the experiment.
Note on F12: WZ: This is the concentration of free fatty acid you want to use in your experiment. 200uM (0.20mM) is recommended
Note on F13: WZ: This is the quantity of radiolabel you want to add. Use the minimum amount that will give you a high enough CPM reading. This will vary depending on the cell type and confluence. 0.0005uCi/uL is recommended for confluent primary hepatocytes
Note on F14: WZ: This is the molar ratio of FFA:BSA you want to use. Choose 3 (3:1 FFA:BSA) as a general guideline. Do not exceed 7:1.
Note on F16: WZ: This is the concentration of Na-FFA you have in your stock. Most Na-FFA will go into solution at up to 20mM.
Note on F17: WZ: This is the concentration of your stock BSA solution. 2mM is recommended.
Note on F18: WZ: This is the specific activity of your radiolabel. Perkin-Elmer's 3H-PA is 5uCi/uL
Note on F20: WZ: This is the concentration of FFA in your diluted, secondary stock. 4mM is recommended
Note on F21: WZ: This tells you how much BSA you will have in your diluted, secondary stock. The value depends on the ratio of FFA:BSA you chose above.
Note on F23: WZ: This is the total volume of concentrated FFA you will need for your experiment. Pipette this into your microfuge tube in the 70C waterbath.
Note on F24: WZ: This is the quantity of radiolabel you will add to your concentrated FFA in the 70C waterbath.
Note on F25: WZ: This is the volume of BSA you will have in your microfuge tube in the 50C waterbath. You will add the cold + hot FFA into this aliquot of BSA
Note on F26: WZ: This is the quantity of media you will add to bring the volume up. Must be > 0.
Note on F27: WZ: This is simply the total volume of your secondary stock It is intentionally more than you will need, to allow for slight pipetting errors.
Note on F29: WZ: This is the volume of the secondary stock (which you made above) that you will add directly into your media to make your working media.
Note on F31: WZ: This is the total volume of media you will end up with. Extra media has been alloted for nonspecificity controls and standards.
Note on F33: WZ: For your own calculations, this is the total ug of FFA in your media.
Note on E35: WZ: This section of cells is unlocked for your own note-taking

## Static real-world sample
| Cold substrate | PA
| FW | 278.41
| uL of media/well | 300
| # of wells/plate | 12
| # of plates | 2
| Target concentration of cold PA (mM) | 0.2
| Target media uCi/uL | 0.0005
| Target PA:BSA Molar ratio | 3
| Concentration of primary cold PA stock(mM) | 20
| Concentration of primary cold BSA stock (mM) | 2
| Primary stock radiolabel uCi/uL | 5
| Concentration of secondary cold PA stock (mM) | 4
| Concentration of secondary cold BSA stock (mM) | 1.3333
| uL 20mM Na-PA | 87.945
| uL 3H-PA @5uCi/uL | 0.87945
| uL 2mM BSA solution | 293.15
| uL media | 57.7505
| Total volume | 439.725
| uL secondary stock mix | 429
| uL media | 8151
| Total uL | 8580
| ug PA total | 477.7516
Notes | Make a single stock of radiolabeled media
Add carnitine/etomoxir manually (only 4 wells per condition)
All cells in CM+ (no FBS, low glucose) overnight; Etomoxir = 1hr pretreat
Beta oxidation performed in 1x HBSS (washed 1x with HBSS prior);
carnitine added at initiation of beta oxidation and etomoxir kept in at same
concentration
Allow to proceed for 45 min to 1hr
12000
1uci per 300uL
40uci for 12 mL
This is a direct copy of the output of this tool for an experiment with the following goals:
1. 200 uM final concentration of palmitate for treatment (the majority of this is comprised of cold palmitate)
2. Enough media for two 12-well plates, at 300 uL of total treatment medium/well
3. Enough radioactivity in each well (at 300 uL of volume) to have CPM in the four-figure range
4. A starting concentration of cold palmitate of 20 mM
5. A concentrated cold Palmitate:BSA stock with a 3:1 molar ratio of cold Palmitate:BSA
The above stock should have a cold Palmitate concentration of 4 mM
Therefore, BSA will be present at a final concentration of 1.33 mM
6. A starting BSA concentrated stock of 2 mM
This is a relatively high concentration of BSA. See associated protocol